Mobile Live Fire Training Facility Start-up / Operational Check List

This form will be completed at the beginning of each training session.


	
	SET UP

	
	Establish parking/set-up location based on site security, proper clearances from overhead wires, combustibles and other hazards and with regard to water supply.

	
	Insure trailer is chalked.

	
	Unit must be level or slightly elevated in the front when in operations.

	
	Unlock and open ALL exterior doors and windows, including rear double doors.  

	
	Remove and install all stairs, platform, and hand-rails.

	
	Verify master key and disconnect are in the “OFF” position, in the control room.

	
	Check all safety switches, to be in the “OUT” position. 

	
	Attach sprinkler water supply.  

	
	SECOND STORY

	
	Access second story via access hatchway.  CAUTION: close hatchway during set up. 

	
	Un-bolt and install all railings including safety chains.  

	
	Raise second story roof via winch.  CAUTION:  Insure four corner safety pins are released.

	
	Secure four corners using corner angle braces.  NOTE:  marked by numbers on wall and braces.

	
	Lower roof unto walls and re-secure with safety pins at four outside corners. 

	
	Open and secure stairwell hatch.

	
	Install and secure stairwell railing.

	
	Install and connect electrical panel prop.

	
	ACTIVATING SYSTEMS

	
	LPG Access:  Check pressure levels.  (not lower than 20)  Open both LPG tank valves.  NOTE: you will hear gas flow for a few seconds.

	
	Mechanical Room:  Check oil in generator.  Utilize 30W oil if needed.  Do not use multi-grade oils.

	
	Mechanical Room:  Check and fill smoke generator.  Switches should be in the ON position.    CAUTION:  Manufacturer fluid only.

	
	Mechanical Room:  Check gas valve rack for leaks.  CAUTION: do not spray electrical components.  NOTE:  All valve indicators should indicate red visual display. 

	
	Mechanical Room:  Start power generator.  Power disconnect switch ON.  Main electrical panel disconnect switch ON. 

	
	Air Compressor should be on AUTO and running.  Insure air pressure build up.  NOTE: If not building up air pressure, check purge/ drain valves.  

	
	Nitrogen:  turn nitrogen cylinder on all the way.  Gauges indicate gas level & output pressure (marked on gauge.)    Spare cylinder on opposite side of trailer.

	
	Control Room:  Activate master key in the “ON” position.  

	
	Computer will boot up, enter your code to access system controls.

	
	Open air control valve to raise roof prop.

	
	On top deploy roof safety supports.

	
	Return to control room and close air control valve to lower roof on safety supports.

	
	Charge roof cooling sprinkler system and visually check flow.  Insure drain valve is closed.

	
	Activate smoke system to check function.  Takes 15 minutes to warm up.


______________________________________________________          ________________    

Operator Signature






Date

MLFTF SET UP CHECKLIST 3/2008


