Mobile Live Fire Training Facility Shut-Down / Operational Check List

This form will be completed at the each of each training session.


	
	Shut down water supply to sprinklers and disconnect hose and open drain valve.

	
	Close both valves on LPG Tanks

	
	Close valve on Nitrogen cylinder.

	
	Return to control room log in and start ignition sequence for each prop, on at a time.

	
	

	
	
WINTER / FREEZING WEATHER 

	
	Purge sprinkler system.  Connect blue air hose line to compressor and connect to water hose sprinkler intake connection.  Close drain and purge the system.  Re-open drain valve. 

	
	

	
	Roof Prop: Raise prop, remove prop legs and secure. Lower prop in store position.

	
	Fold down all railings and secure at all positions.

	
	Control Room: Log out of computer.

	 
	Control Room: Turn key to “OFF” position 

	
	Mechanical Room: Shut down smoke machine, main disconnect and generator.

	
	Drain air / water from compressor.  Open valves near propane tanks and near diesel fuel intake.

	
	Diesel Fuel if necessary.

	
	Mechanical Room: Secure all firefighting and mechanical tools.  Parts in red pail.

	
	Remove and secure all stairs and railings.  NOTE: Place railings between wall and bed prop for travel.

	
	Remove wheel chalks and place inside of rear door.

	
	Hang keys on rear side door handle.

	
	Complete and submit agency data paperwork.  Electronically Cconig4320@netzero.com


_____________________________________________________________          _____________________

Operator Signature








Date

MLFTF SHUT DOWN CHECKLIST 3/2008


